Wound analyzer v0.01

Nazariy Jaworski 2016©

Quick start

Step 1: Run application

Run WoundAnalyzer.exe at corresponding directory.

The main window should appear:

Step 2: Open wound image

Open existing wound image by running Image→Open… action or by pressing icon:

The File open dialog should appear:

: supported image formats are *.bmp *.jpg *.jpeg *.png *.tif *.tiff

Example:

Press Open button, image should be opened now:

Step 3: Select wound border(s)

Run Image→Polygon action or press corresponding button:

The application should be running in “Polygon mode”, see the status bar at the bottom.

Now simply do the mouse left button click on image to add nodes:

It is possible to create more than one polygon – turn off the polygon mode by running Image→Polygon action then turn on it again. Previous polygon should be saved and new mouse click should create new polygon.

If a mistake occurred the image can be cleared by running Image→Clear action or by pressing corresponding button:

Polygon can be edited – turn off the polygon mode by running Image→Polygon action. The application should be running in “Edit mode”, see the status bar at the bottom. The mouse cursor hovering over polygon nodes and edges should highlight them:

Each node can be dragged:

Each node can be deleted by right mouse button click over it:

Each edge can be split by right mouse button click over it:

Use this features to select wound borders:

Step 4: Scale wound borders by ruler

Run Image→Ruler action or press corresponding button:

The application should be running in “Ruler mode”, see the status bar at the bottom.

Now simply do two mouse left button clicks on image to add ruler nodes:

Ruler can be edited – turn off the ruler mode by running Image→Ruler action. The application should be running in “Edit mode”, see the status bar at the bottom. The mouse cursor hovering over ruler nodes highlight them. Each node can be dragged.

Step 5: Export results

Run Image→Save action or press corresponding button:

The Image save dialog should appear. Resulting image will be “what you see is that you get”:

Run Image→Export results action or press corresponding button:

The Document save dialog should appear. Results will be saved in pdf format.